ENERGIS 10IN Managed PDU

EU Declaration of Conformity

Date: 		13.12.2025

# 1. Manufacturer

Name: 				David Sipos
Address: 			Withheld in this copy
Contact: 			dvidmakesthings@gmail.com

# 2. Product Identification

Product name: ENERGIS 10IN Managed PDU

Product type: 8-Channel Managed Power Distribution Unit (PDU)

Model designation: ENERGIS 10IN Managed PDU

Hardware revision: 1.1.0

Intended use: Switching and monitoring of AC mains power in rack-mounted laboratory and technical environments

## Electrical Ratings

Nominal input voltage: 230 V AC

Nominal frequency: 50 Hz

Maximum input current: 10 A

Protection class: Class I (Protective Earth)

Installation category: Indoor, fixed installation

# 3. Declaration

This declaration of conformity is issued under the sole responsibility of the manufacturer. The product described above is in conformity with the relevant Union harmonisation legislation listed below.

# 4. Applicable EU Directives

- 2014/35/EU – Low Voltage Directive (LVD)

- 2014/30/EU – Electromagnetic Compatibility Directive (EMC)

- 2011/65/EU – RoHS Directive (including amendments)

# 5. Applied Harmonised Standards

## Safety (LVD)

- EN 62368-1: Audio/video, information and communication technology equipment – Safety requirements

## EMC

- EN 55032: Electromagnetic compatibility of multimedia equipment – Emission requirements

- EN 55035: Electromagnetic compatibility of multimedia equipment – Immunity requirements

Compliance with the above EMC standards has been verified by measurement and documented test results. Test reports are retained as part of the technical documentation.

## Environmental (RoHS)

- EN IEC 63000: Technical documentation for the assessment of electrical and electronic products with respect to the restriction of hazardous substances

# 6. Technical Documentation

The technical documentation required by the applicable Union harmonisation legislation is maintained by the manufacturer. A list of the applicable documents is provided in 
ENE-LDOC-TFI-100-Technical-File-Index.

# 7. Additional Information

- The product is intended for professional and laboratory use only.

- Installation and operation must follow the supplied documentation.

- No user-serviceable parts are accessible during normal operation.

# 8. Signature

Place: 		Vienna, Austria
Date: 		13.12.2025.

Name: 		David Sipos
Position: 	Manufacturer / Responsible Person

Signature: